COMMODITY DESCRIPTION

| HSK NO. | ITEM NO. | DESCRIPTION | UNIT | QUANTITY |
| --- | --- | --- | --- | --- |
|  |  | -80℃ Ultra-Low Temperature Freezer, 682L |  | 2 |

- Features

- Systems save up to 25% in energy usage and heat rejection over conventional refrigerant ultra-low freezers.

- Designed for daily usage, recovers cabinet temperature 20% faster after opening the door.

- A quiet sound output below 53 dBA, enables the freezer to come out of the hallway and into the lab.

- Meets +/-10°C validation protocols at -80°C with strong peak variation and steady-state temperature variation.

- Natural hydrocarbon refrigerants reduce system operating stresses promoting outstanding reliability and worry-free sample protection.

- Drive Information Center combines easy to read temperature with simple capacitive touch buttons in a display.

- Four capacities (300, 400, 500 and 600 2-inch box) to accommodate a variety of storage needs.

- Contain four inner doors allowing for easy sample access without exposing greater freezer content to ambient conditions.

- Improved customer convenience with new ergonomically designed handle, high contrast eye-level display, and comfortable easy-access shelf locations.

- Compatible with most racking systems.

B. Specifications

- Temperature Range: -50℃ to -86℃ (Microprocessor Temperature Controller)

- Internal volume: 682	 Liters

- Cabinet type: Upright

- Door type: Single

- Shelves: 3

- Electrical data: 208-230V, 50/60Hz

C. Remarks

- The installation and operation should be carried out by the bidder/supplier responsibility at end-user's site.

- Five years warranty service should be provided by supplier after the performance test.

F. ‘위 규격서에서 명시한 제품과 동등 이상의 다른 제품 납품이 가능한 업체는 입찰에 참가할 수 있음’.