COMMODITY DESCRIPTION

| HSK NO. | ITEM NO. | DESCRIPTION | UNIT | QUANTITY |
| --- | --- | --- | --- | --- |
|  |  | -20℃ Freezer, 827L |  | 2 |

- Features

1. Low Noise Operation: The freezer operates at an impressively low noise level of 52 dB, ensuring a quiet and undisturbed working environment.

2. Wide Temperature Range: Boasting a temperature range from -35°C to -15°C, it caters to a wide array of freezing requirements, making it versatile for various industries.

3. Enhanced Energy Efficiency: The unit's optimized cooling system and energy-saving components contribute to significant energy efficiency, leading to reduced operating costs.

4. Easy Microprocessor Control: Conveniently manage and adjust security settings and alarms using the microprocessor control.

5. Secure Door Locking Mechanism: Equipped with a standard door locking device for convenience and safety.

6. Ergonomic Design: Designed with an ergonomic door handle for user comfort.

7. Large Capacity: With a capacity of 29.2 cu. ft. (827 L), it provides ample storage space.

- Specifications

1.     Temperature Range: -15℃ to -25℃ (Microprocessor Temperature Controller)

2.     Internal volume: 827 Liters

3.     Cabinet type: Upright

4.     Door type: Single

5.     Shelves: 4

6.     Electrical data: 208-230V, 50/60Hz

- Remarks

- The installation and operation should be carried out by the bidder/supplier responsible at the end-user's site.

- IQ and OQ must include.

- Five years of warranty service should be provided by the supplier after the performance test.

- ‘위 규격서에서 명시한 제품과 동등 이상의 다른 제품 납품이 가능한 업체는 입찰에 참가할수 있음’.

COMMODITY DESCRIPTION

| HSK NO. | ITEM NO. | DESCRIPTION | UNIT | QUANTITY |
| --- | --- | --- | --- | --- |
|  |  | -80℃ Ultra-Low Temperature Freezer, 816L |  | 2 |

A. Features

- Systems save up to 25% in energy usage and heat rejection over conventional refrigerant ultra-low freezers.

- Designed for daily usage, recovers cabinet temperature 20% faster after opening the door.

- A quiet sound output below 53 dBA, enables the freezer to come out of the hallway and into the lab.

- Meets +/-10°C validation protocols at -80°C with strong peak variation and steady-state temperature variation.

- Natural hydrocarbon refrigerants reduce system operating stresses promoting outstanding reliability and worry-free sample protection.

- Drive Information Center combines easy to read temperature with simple capacitive touch buttons in a display.

- Four capacities (300, 400, 500 and 600 2-inch box) to accommodate a variety of storage needs.

- Contain four inner doors allowing for easy sample access without exposing greater freezer content to ambient conditions.

- Improved customer convenience with new ergonomically designed handle, high contrast eye-level display, and comfortable easy-access shelf locations.

B. Specifications

- Temperature Range: -50℃ to -86℃ (Microprocessor Temperature Controller)

- Internal volume: 816 Liters

- Cabinet type: Upright

- Door type: Single

- Shelves: 3

- Electrical data: 208-230V, 50/60Hz

C. Remarks

- The installation and operation should be carried out by the bidder/supplier responsibility at end-user's site.

- IQ and OQ must include.

- Five years warranty service should be provided by supplier after the performance test.

D. ‘위 규격서에서 명시한 제품과 동등 이상의 다른 제품 납품이 가능한 업체는 입찰에 참가할수 있음’.

COMMODITY DESCRIPTION

| HSK NO. | ITEM NO. | DESCRIPTION | UNIT | QUANTITY |
| --- | --- | --- | --- | --- |
|  |  | 4℃ refrigerator 1447L |  | 2 |

- Features

- Designed for daily usage, recovers cabinet temperature 20% faster after opening the door.

- A quiet sound output below 53 dBA, enables the freezer to come out of the hallway and into the lab.

- Mobility and Stability: Equipped with four 2" casters, these refrigerators offer easy mobility, with the front two casters being lockable for stable positioning when required.

- Natural hydrocarbon refrigerants reduce system operating stresses promoting outstanding reliability and worry-free sample protection.

- Bright LED Interior Lighting: The refrigerators feature energy-efficient LED interior lighting, providing clear visibility and easy access to stored contents.

- Self-Closing Door: The self-closing door with a 90° stop aids in inventory management, ensuring the door stays closed when not in use, preserving the internal temperature.

B. Specifications

- Temperature Range: 3℃ to 7℃ (Microprocessor Temperature Controller)

- Internal volume: 1447 Liters

- Cabinet type: Upright

- Door type: 2 Solid

- Shelves: 8

- Electrical data: 208-230V, 50/60Hz

C. Remarks

- The installation and operation should be carried out by the bidder/supplier responsible at the end-user's site.

- IQ and OQ must include.

- Five years warranty service should be provided by the supplier after the performance test.

D. ‘위 규격서에서 명시한 제품과 동등 이상의 다른 제품 납품이 가능한 업체는 입찰에 참가할수 있음’.