Scope of service

| HSK NO. | MODEL NO. | DESCRIPTION | UNIT | QUANTITY |
| --- | --- | --- | --- | --- |
|  |  | Laboratory Information Management System | set | 1 |

A. Features

- Sample Management: Efficiently tack and manage samples from collection through analysis and storage. Features include sample labeling, barcoding, and real-time status updates.

- Web-access: The system is web-based, so it can be easily accessed from other countries without installing software on the computer.

- Flexibility: The system is flexible to be developed and modified according to IVI’s working protocols.

- Compliance and Quality Control: Support for regulatory compliance with industry standards such as ISO, GLP, and FDA requirements. Includes features for audit trails, data integrity checks, and validation protocols.

- Reporting and Analytics: Generate detailed reports to gain insight into repository performance. Customizable reporting options support data visualization and decision-making.

- User Management: Control access and permissions with role-based user management. Ensure data security and confidentiality with customizable user roles and authentication methods.

- Integration Capabilities: Seamlessly integrate with repository instruments, database, and other systems. Supports a variety of data formats and communication protocols.

- Inventory Management: Track and manage laboratory instruments, supplies and equipment. Features include inventory tracking, ordering, and usage monitoring.

- Installation deadline: The installation shall be completed before 31st of December 2024.

B. Specifications

- Chain of Custody & Inventory management

- Sample reception and registration

- Requesting/returning and approving samples

- Record and manage sample usage

- Sample management (Master ONLY)

- Sample status Inquiry

- Calibration Systems

- Calibration device management

- Assignment and management of calibration personnel

- Email before the calibration cycle expires

- Review approval process

- Registration of calibration document and warranty document (including internal and external)

- Technical specifications

- In addition to the dedicated client program, access via major browsers (e.g., Chrome, Edge, Firefox, Safari) is preferred.

- Applications should also be accessible from mobile devices, such as tablets.

- Ensure stable data transmission by employing encryption methods like HTTPS.

- Integrate authentication and authority management through Active Directory (or Azure AD) and user accounts and role-based access control.

- Guarantee data integrity and availability in compliance with regulations, including GMP, GXP, ISO 17025, 21 CFR Part 11, CAP/CLIA, and others.

- Support English/Korea data input in LIMS system.

- Provide comprehensive support options, including documentation, training, and technical assistance.

C. Remarks

- User training sessions are provided on site as well as manual videos.

- User manual (English) is provided.

- 1-year free warranty (Annual maintenance contract is necessary).