Commodity Description

| Item No. | Product Description | Size | Unit | Q’ty |
| --- | --- | --- | --- | --- |
| 1 | NSF49-Certified Type A2 Biosafety Cabinet | 4ft | Set | 16 |

The Type A2 Biosafety Cabinet is a state-of-the-art containment solution designed to provide both product protection and environmental safety. Certified by the National Sanitation Foundation (NSF), this cabinet meets rigorous standards for personnel, product, and environmental protection, making it ideal for handling microbiological and biomedical materials where the user and the work environment need protection against biological hazards.

Key Features

- Certification: NSF 49 certified, ensuring compliance with strict safety and performance standards.

- Airflow System: Vertical laminar airflow with a minimum inflow velocity of 100 fpm (feet per minute) and downflow velocity of 55 fpm, maintaining a stable and contamination-free environment.

- Filtration: Equipped with Ultra Low Penetration Air (ULPA) or High Efficiency Particulate Air (HEPA) filters capable of trapping particles as small as 0.3 microns with 99.97% efficiency, surpassing traditional HEPA filters in both particle retention and cleanliness levels. Construction: Constructed from stainless steel with a corrosion-resistant powder-coat finish, offering durability and ease of cleaning.

- Safety Features: Includes an audible and visual alarm to alert users to any airflow disruptions, ensuring maximum safety during operation.

- Energy Efficiency: Features an energy-efficient motor to reduce operational costs and environmental impact.

Specifications

- Noise Level: Less than 64 dB

- Power Supply: 220 V

Additional Components

- UV Light: UV lamp for decontamination processes.

- Service Valves: Built-in service valves for gas, air, and vacuum services to accommodate a wide range of research needs.

- Utility Ports: Multiple built-in ports for easy integration of additional equipment.

Warranty and Support

- Warranty: 5-year warranty on all components, with extended service options available.

Delivery and Installation

- Lead Time: Delivery guaranteed by November 2025, ensuring all units are received within the specified timeline.

- Installation: Comprehensive on-site installation by certified technicians, including operational training and certification for use.

- Validation: All biosafety cabinets will include complete validation services (Installation Qualification, Operation Qualification) to ensure full operational compliance and performance within 2 weeks after delivery.

Deinstallation and Disposal

- The scope of supply will include the removal and proper disposal of 15 existing BSC units currently in operation, ensuring environmentally compliant and safe disposal practices.